Yearly Energy & Water Consumption Data -2016

Water Data 	=15235 (M^3)

CNG Bill	=98540.47 (M^3)

Diesel Bill	=7175 (Liter)

Electricity	=664958 (Kwh)